## Sheet1
~blue light
| entering light | 1
Telescope efficiency
| primary reflection | 0.8 | total telescope efficiency(theory)
| secondary reflection | 0.8 | 0.5504
| undersize secondary | 0.86
Gam efficiency
| focal reducer | 0.89 | total gam efficiency(theory) | total telescope+gam efficiency(theory)
| pellicle | 0.92 | 0.45034 | 0.24787
| filling factor | 0.55
Spectrograph efficiency
| fiber efficiency | 0.8 | total spectrograph efficiency(theory) | total system efficiency(theory)
| field lens | 0.9216 | 0.24026 | 0.059554
| collimator | 0.72139
| glass covering grating | 0.9216
| grating efficiency | 0.96
| grating off angle eff | 0.96 | total spectrograph efficiency(derived) | total system efficiency(measured)
| glass covering grating | 0.9216 | 0.16138 | 0.04
| camera lens | 0.72139
| CCD QE | 0.8